SECTION 11 66 43
DAKTRONICS H-2102 SCOREBOARD MODULE

Part 1 GENERAL
1.01 SECTION INCLUDES
A. Single-sided LED hockey scoreboard module
1.02 references

A. Standard for Electric Signs, UL 48

B. Standard for CSA C22.2 #207 
C. Federal Communications Commission Regulation Part 15

D. National Electric Code

1.03 SUBMITTALS

A. Product data: Submit manufacturer’s product illustrations, data and literature that fully describe the scoreboards and accessories proposed for installation.
B. Shop drawings: Submit mechanical and electrical drawings.

C. Maintenance data: Submit manufacturer’s installation, operation, and maintenance manuals.

1.04 DELIVERY, STORAGE, AND HANDLING

A. Product delivered on site
B. Scoreboard and equipment to be housed in a clean, dry environment
1.05 Project CONDITIONS

A. Environmental Limitations: Do not install scoring equipment until spaces are enclosed and weatherproof, wet work in spaces is complete and dry, and ambient temperature and humidity conditions are maintained at the levels indicated for project when occupied for its intended use.

B. Field Measurements: Coordinate scoreboard location and height with the customer. Verify dimensions by field measurements.

C. Supply weight and mounting method for owner to verify that building structure is capable of supporting the scoreboard’s weight in addition to the auxiliary equipment.

1.06 quality assurance
A. For indoor use only
B. Source Limitations: Obtain each type of scoring equipment and electronic displays through one source from a single manufacturer.

C. ETL listed to UL 48 

D. NEC compliant

E. FCC compliant

F. ETLC listed to CSA 22.2 #207

1.07 WARRANTY
A. Provide 5 years of no cost parts exchange including standard shipping on electronics parts and radios due to manufacturing defects
B. Provide toll-free service coordination

C. Provide technical online and phone support during Daktronics business hours
Part 2 PRODUCTS

2.01 manufacturer

A. Daktronics, Inc., 201 Daktronics Drive, P.O. Box 5128, Brookings, SD 57006-5128

B. ________________________________________________________________________

C. ________________________________________________________________________

2.02 Product

A. Daktronics H-2102 single-sided hockey scoreboard modules display PLAYER number to 99 and PENALTY time to 9:59 for up to two players. Modules are sold in pairs for tracking penalties of both teams. Dimensions, weight and power listed below are for a single display.
2.03 scoreboard

A. General information

1. Dimensions: 4'-0" (1.22 m) high, 7'-0" (2.13 m) wide, 0'-6" (152 mm) deep

2. Weight: 105 lb (48 kg) 
3. Power requirement: 140 W 
4. Color: provide over 150 colors to choose from
B. Construction 

1. All-aluminum construction

2. Scoreboard back, face, and perimeter: 0.063" (1.60 mm) thick

3. Cabinet withstands high-velocity impact from air-filled sports balls without the need for protective screens

C. Digits

1. LED digit technology 
(SELECT ONE DIGIT TYPE IN BRACKETS ONLY): 
[PanaView® (PV) – discrete LEDs protrude through the scoreboard face] 
[UniView® (UV) – enhanced digits with diffusant lenses over the LEDs that blend the light for a uniform bar look and 140° viewing angle]
2. LED color (SELECT ONE DIGIT COLOR IN BRACKETS ONLY): 
[Amber PLAYER digits with Red PENALTY digits] [All White digits (PanaView only)]
3. All digits: 13" (330 mm) high

4. Seven bar segments per digit
D. Captions

1. Vinyl applied directly to scoreboard face

2. All captions: 6" (152 mm) high
3. Color: standard white or others available upon request

E. Power Cord
1. Cord is 11' (3.35 m) long

2. Cord plugs into a standard grounded outlet

F. Accessory Equipment 
(SELECT ONE ACCESSORY IN BRACKETS PER NUMBER OR DELETE ENTIRE NUMBER)

1. [Vinyl striping applied around the scoreboard face]

2. [Hinged metal mesh protective screen – painted to match scoreboard]

3. [Hardware for suspension installation]
2.04 SCORING CONSOLE

A. Controller not included with standard purchase; scoreboard module will be controlled by the same console controlling the main hockey scoreboard(s).
Part 3 EXECUTION

3.01 EXAMINATION

A. Verify that mounting surface is ready to receive scoreboard. Verify that placement of conduit and junction boxes are as specified and indicated in plans and shop drawings.
3.02 INSTALLATION

A. Power conduit, cables and outlet boxes to be provided and installed by the electrical contractor. Signal raceways, conduit and boxes to be provided by the electrical contractor. Electrical contractor is also responsible for any required wire and terminators between each scoreboard and control location. 

B. Mount scoreboards and interior displays to wall in location detailed and in accordance with manufacturer's instructions. Unit to be plumb and level.
3.03 installation—control center

A. Provide boxes, cover plates and jacks as required to meet control specification requirements. Control cables to control panels shall be concealed.

B. Test the operation of the scoreboard, controller and all control jacks; leave control unit in carrying case and other loose items with owner's designated representative. 

C. Conduct operator training on the scoreboard/controller operation.
END OF SECTION

PAGE  
SL-05315  030816
H-2102
11 66 43-3

