# GENERAL

## SECTION INCLUDES

### A.	Single-sided Aquatics LED scoreboard and OmniSport® Timing System

## references

### A.	Standard for Electric Signs, UL-48, 13th Edition

### B.	Standard for Control Centers for Changing Message Type Signs, UL-1433, 1st Edition

### C.	Standard for CAN/CSA C22.2

### D.	Federal Communications Commission Regulation Part 15

### E.	National Electric Code

## SUBMITTALS

### A.	Product data: Submit manufacturer’s product illustrations, data and literature that fully describe the pool equipment proposed for installation.

### Shop drawings: Submit mechanical and electrical drawings.

### Maintenance data: Submit manufacturer’s installation, operation, and maintenance manual.

## DELIVERY, STORAGE, AND HANDLING

### A.	Product delivered on site.

### B.	Scoreboard and equipment to be stored in a clean, dry environment.

## Project CONDITIONS

### Environmental Limitations:  Do not install display equipment until spaces are enclosed and weatherproof, wet work in spaces is complete and dry and ambient temperature and humidity conditions are maintained at the levels indicated for project when occupied for its

### intended use.

### B.	Field Measurements: Verify position and elevation of floor inserts and layout for display equipment. Verify dimensions by field measurements.

### C.	Verify building structure is capable of supporting the scoreboard's weight in addition to the auxiliary equipment.

## quality assurance

### A.	For indoor/outdoor use

### Source Limitations:  Obtain each type of pool equipment through one source from a

### single manufacturer.

### C.	ETL listed to UL Standards 48 and 1433.

### D.	NEC compliant

### E.	FCC compliant

### F.	ETLC listed to CAN/CSA 22.2

## WARRANTY/service plan

### Provide 1 year of coverage.

### Provide an exchange program to supply replacement parts for components that fail during the coverage period. To minimize downtime, the exchange parts will be shipped on the same day the order is received or on the following day. The manufacturer will also enclose an air bill for return of the defective components.

### Provide access to a local Authorized Service Company.

### Provide a help desk staffed by experience technicians and coordinators who are thoroughly familiar with the scoreboard and available for technical support. This staff must be available at no additional cost to the customer and provide an "on-call" service during weekends.

# PRODUCTS

## manufacturer

### A.	Daktronics, Inc., 201 Daktronics Drive, P.O. Box 5128, Brookings, South Dakota 57006-5128

### B.	________________________________________________________________________

### C.	________________________________________________________________________

## Product

### A.	Daktronics SW-2218-13 single-sided scoreboard scores swimming, diving and water polo. It displays lane, place and time.

B.	This system contains all components for a single ended timing system and an eight-line scoreboard.

## scoreboard

### A.	General information

#### Dimensions: 5'-10" (1778 mm) high, 18'-0" (5486 mm) wide, 6" (152 mm) deep

#### Weight: 410 lb (186 kg)

#### Power requirement: 1000 watts

#### Color: black

### B.	Construction

#### 1.	All-aluminum construction.

#### 2.	Scoreboard face and perimeter: 0.063" thick

#### 3.	Scoreboard back: 0.063" thick

#### 4.	Digit faceplates: 0.063" thick

### C.	Digits

#### 1.	AS  AlINGaP LED digits

#### 2.	Seven bar segments per digit

#### 3.	LED digit technology: Digits protrude through the digit faceplates with a 140 degree viewing angle.

#### 4.	All digits: 10" (254 mm) high

#### 5.	Digits: Red, amber or alternating rows of both colors

### D.	Captions

#### 1.	All captions: 5" (127 mm) high

#### 2.	All captions: White vinyl and are applied directly to changeable panels

### E.	Power Cord

#### 1.	Cord is 11' (3353 mm) long

#### 2.	Cord plugs into a standard grounded 120 V AC outlet.

### F.	Optional Equipment

#### 1.	Advertisement/sponsor panels

#### 2.	Programmable message displays

#### 3.	Hardware for corner mounting

#### 4.	Extended service plan

#### 5.	Touchpad storage cart

#### 6.	Additional backup buttons

#### 7.	Wireless microphone for Horn Start System

#### 8.	Tripod for Horn Start System

9.	40 W auxiliary starting speakers with 125 ft. cord

10.	Compatibility with alternate controller systems

11.	Auxiliary modules to display team scores, event/heat, record time and lengths/record time

12.	Upgrade to OmniSport® 2000 PRO Windows®-based timing software

## aquatics SCORING CONSOLE

### A.	Aquatics control console will be the OmniSport® 2000 controller [2000 PRO controller].

### B.	Capable of scoring swimming, diving, and water polo and includes pace clock software through the use of keyboard inserts. All necessary software will be supplied for these sports.

### C.	Capable of controlling single line or multi line scoreboards, event/heat module, lengths/record time module and score modules.

D.	Console will be capable of timing to either .01 or .001 of a second precision

E.	Console will be configured to time 1-10 lanes, labeled 1-10 or 0-9.

1.	Each lane will gave 1-3 backup buttons

2.	Each lane will be configurable for judging relay exchanges

F.	Console will be capable of timing in normal or reverse lane order.

G.	Console will be capable of timing 25Y, 25M or 50M courses; with near or near and far end touchpads.

H.	Console will be capable of handling inputs from touchpads, start system, backup buttons and relay take-off sensors.

I.	Console will have a computer expansion port, giving it the ability to upgrade to the Daktronics OmniSport® 2000 PRO Windows®-based software to provide for additional timing and event management features and synchronized swimming.

J.	Console will have a meet manager port and will be capable of bi-directional communication with HyTek Ltd. Meet Management and Team Manager systems for downloading of results, event orders and workouts. Console will have an automated interface to update and automatically display team score information for up to four teams.

K.	Console will have two (2) scoreboard ports

L.	Console will provide real time data output port to matrix scoreboard controller.

M.	Console will have game clock and shot clock external switch inputs

N.	Console will be capable of labeling up to 500 event numbers, in any order with alpha (A-Z) designator, i.e. 1A to 999Z and round information, i.e. preliminary, semi-final, final or blank.

O.	Console will have the ability to accept a start pulse even when the timer has not been reset.

P.	Console will have revolving memory capacity for up to 50 races, and will store up to 66 splits per lane with near and far end touchpads and backup button times.

1.	Stored split times, including turning (far) end splits, will be printed as they occur and stored in electronic memory during a race for later recall.

2.	Split times format will be user selectable to provide individual lap splits, cumulative splits or both.

Q.	Console will be capable of configuring page times of results on scoreboard, as well as subtractive and/or cumulative splits.

R.	Printout of relay judging will include both "plus" and "minus" takeoff times for each leg of the relay

S.	Console software will allow automatic ranking or re-ranking in the case of disqualification.

T.	Any corrections generated by the operator (edit or disqualification) will be automatically and clearly identified on the results printout.

### U.	Console has a maximum power requirement of 50 watts

### V.	Console includes:

#### A rugged anodized aluminum enclosure to house electronics

#### A sealed membrane water-resistant keyboard

#### Three 32-character liquid crystal prompting displays to verify entries and recall information currently displayed

4.	Keyboard functions: plus or minus touches, lane on/off, next event, heat +1, heat –1 and disqualification to allow for ease of meet management.

5.	Safeguarded reset keystrokes to avoid the timer from being reset accidentally.

6.	A built-in, high-resolution, high-speed compact thermal printer.

#### A transformer assembly to plug into a standard grounded 120 V AC outlet

#### A 20' (6096 mm) control cable to connect to the control receptacle junction box

### W.	Optional Equipment

#### 1.	Carrying case for console

#### 2.	2.4 GHz spread spectrum radio for scoreboard communication

2.05	DECK PLATES (IN-DECK)

### A.	Deck plates (8 required) will permit plug-in connections for touchpads, A, B and C backup buttons and start speakers at each lane.

B.	Start location deck plates (3 required) will permit plug-in connections for start system, auxiliary speaker and lane speakers. Start junction box recommended location is 188" from start end of pool, on both sides and on one side of the far end.

C.	Deck plates will be mounted flush with deck tile with connections recessed. Template will be provided to SPC/Tile layers to allow room for plates.

D.	Deck plate will have flush surface to prevent injury to swimmers. Protruding connectors and covers are unacceptable.

E.	Under deck cable will be soldered in place and then potted with epoxy potting compound to prevent the possibility of wire joint corrosion.

F.	Deck plates will fit into 4" by 4" by 6" Carlon junction box, #E989NNR which is in place in deck by SPC. Junction boxes will be interconnected with 2" PVC conduit terminating in 12" by 12" by 6" Carlon junction box, #E989R. Wall boxes and junction boxes are shown on the electrical drawings.

G.	Deck plates will be a standard production part and not a one-time custom part.

2.06	WALL PLATES

### A.	Wall plates (1 required) will be the termination point for connections between in-deck cables, timers and start system.

B.	Wall plate will permit all necessary connections for timing system.

C.	Wall plate will be of a non-corrosive material, 14" by 14" minimum size.

2.07	PORTABLE HORN START SYSTEM

### A.	Start system will have a water shedding enclosure.

B.	Start system will house one (1) 40-watt corrosion resistant speaker.

C.	Start system will have an external 360-degree strobe.

D.	Start system will have external connections for additional speakers, start output, microphone and power/battery charger.

E.	System microphone will have a 6' coiled cord, a 15' extension cable and locking 4 pin connector to prevent accidental unplugging.

F.	System will operate either by internal rechargeable 12 V battery or 120 V AC power. Battery will operate the system for up to 15 hours on a full charge.

- System will provide both normally open and normally closed contacts for

connection flexibility.

H.	System will have a built-in handle to allow for ease of mobility.

I.	System will have a bracket for mounting to a flagpole or tripod.

J.	System will be ETL listed and tested to CSA standards.

2.08	GUTTER-HUNG TOUCHPADS

### A.	Touchpads will be 78" (1981 mm) wide by 22" (864 mm) high (T-6078)—one (1) required per lane.

B.	Touchpads will be manufactured of stainless steel.

C.	Touchpads markings will overlay the existing pool markings and have a defined target and border with contrasting background.

D.	Touchpads will not be greater than 8 mm thickness each.

E.	Touchpad surface will be non-slip in any direction.

F.	Touchpads will be free of general maintenance and will be suitable for operation at any altitude without being pressurized.

G.	Touchpads will be capable of operating indoors or outdoors without the possibility of being stressed due to temperature changes during normal use or storage.

H.	Touchpad cable length will be 9'-6" (2896 mm).

I.	Touchpad brackets will be available for most types of pool configurations.

J.	Touchpads will allow water to flow into the touchpad in order to equalize the inside and outside pressure of the touchpad. Pressure equalization will act to increase stabilization, virtually eliminating the ability of the touchpad to float away from the pool wall.

2.09	BACKUP BUTTON TIMING

### A.	One pushbutton per lane will be provided for backup timing.

B.	Pushbutton will have 5'-0" (1524 mm) long cable.

C.	Pushbutton will connect to deck plates via dual banana plugs

2.10	 JUDGE'S TERMINALS

- Each terminal will be hand-held and easy to use with an LCD display and audible

warning sound.

- LCD display will show the current score entered before being transmitted to the main

scoring system.

- Terminal will be water-resistant, reasonably shockproof and suitable for use in the

aquatics environment.

D.   Multiple terminals will be connected in a series, daisy chain, together in a way in that only a single terminal is directly connected to the main scoring system.

# EXECUTION

## EXAMINATION

### A.	Verify that surfaces which scoreboard will be mounted on are ready to receive work. Verify that placement of conduit and junction boxes are as specified and indicated in plans and shop drawings.

## INSTALLATION

### A.	All power and control cables to scoreboards and displays will be concealed in wall in conduit. Power to the scoreboards/displays as well as raceways shown on electrical plans by the Electrical Contractor. Scoreboard control wiring coiled cable to the bleacher jack location will be the responsibility of the contractor assigned the scoreboard equipment.

### B.	Mount scoreboards and interior displays to wall in location detailed and in accordance with manufacturer's instructions. Unit to be plumb and level.

## installation—control center

### A.	Provide boxes, cover plates and jacks in locations per plans for remote operation of control cables to control panel jacks will be concealed in wall or under floor in conduit.

### B.	Test connect control unit to all jacks and check for proper operation of control unit, scoreboard and all features. Leave control unit in carrying case and other loose accessories with owner's designated representative.

C.	Conduit operator training on the scoreboard/controller operation.

END OF SECTION